| Item | Quarterly | Annually | As Needed | Date | Date | Date | Date | Date |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Important: Replace furnace filter. Clean filter on mini-split air source heat pump. Check your owner’s manual for instructions. |  | x |  |  |  |  |  |  |
| Important: Clean filter on mini-split air source heat pump. Check your owner’s manual for instructions. | x |  |  |  |  |  |  |  |
| Important: Clean Heat Recovery Ventilator filter and core. |  | x |  |  |  |  |  |  |
| Inspect and clean bath and laundry fans or heat recovery system filters |  | x |  |  |  |  |  |  |
| Clean kitchen stove exhaust filters. | x |  |  |  |  |  |  |  |
| Test & Reset all GFI outlets. |  | x |  |  |  |  |  |  |
| Clean refrigerator condenser coils. |  | x |  |  |  |  |  |  |
| Test and clean smoke alarms and change batteries. |  | x |  |  |  |  |  |  |
| Check for leaks under dishwasher, refrigerator, sinks and washing machine hoses. | x |  |  |  |  |  |  |  |
| Clean dryer vent. |  | x |  |  |  |  |  |  |
| Inspect plumbing shutoff valves, repair or replace as necessary. |  | x |  |  |  |  |  |  |
| Inspect & clean faucet aerators, shower heads, sink drains & overflows. |  | x |  |  |  |  |  |  |
| Check main electrical panel for moisture, rust and general operation of circuit breakers. Keep 3 feet clearance in front of panel for emergency access. |  | x |  |  |  |  |  |  |

HOMEOWNER’S MAINTENANCE - INTERIOR